FN ISI Export Format

VR 1.0

PT J

AU Colgan, EG

Furman, B

Gaynes, M

Graham, WS

LaBianca, NC

Magerlein, JH

Polastre, RJ

Rothwell, MB

Bezama, RJ

Choudhary, R

Marston, KC

Toy, H

Wakil, J

Zitz, JA

Schmidt, RR

AF Colgan, Evan G.

Furman, Bruce

Gaynes, Michael

Graham, Willian S.

LaBianca, Nancy C.

Magerlein, John H.

Polastre, Robert J.

Rothwell, Mary Beth

Bezama, R. J.

Choudhary, Rehan

Marston, Kenneth C.

Toy, Hilton

Wakil, Jamil

Zitz, Jeffrey A.

Schmidt, Roger R.

TI A practical implementation of silicon microchannel coolers for high

power chips

SO IEEE TRANSACTIONS ON COMPONENTS AND PACKAGING TECHNOLOGIES

AB This paper describes a practical implementation of a single-phase Si

microchannel cooler designed for cooling very high power chips such as

microprocessors. Through the use of. multiple heat exchanger zones and

optimized cooler fin designs, a unit thermal resistance 10.5 C-mm(2)/W

from the cooler surface to the inlet water was demonstrated with a

fluid pressure drop of < 35 kPa. Further, cooling of a thermal test

chip with a microchannel cooler bonded to it packaged in a single chip

module was also demonstrated for a chip power density greater than 300

W/cm(2). Coolers of this design should be able to cool chips with

average power densities of 400 W/cm(2) or more.

CR HARPOLE GM, 1991, P 7 IEEE SEM S, P59

KAYS WM, 1966, CONVECTIVE HEAT MASS, CH6

KISHIMOTO T, 1987, ELECTRON LETT, V23, P456

LAERMER F, 2003, MICROELECTRON ENG, V67, P349

PRECHTL P, 2004, P ADV TECHN WORKSH T

STEINKE ME, 2004, P 2 INT C MICR MIN, P141

TUCKERMAN DB, 1981, IEEE ELECTRON DEVICE, V2, P126

WEBB RL, 2003, UNPUB INT EL PACK TE

SN 1521-3331

PD JUN

PY 2007

VL 30

IS 2

BP 218

EP 225

UT ISI:000247090700004

ER

PT J

AU Oliet, C

Oliva, A

Castro, J

Perez-Segarra, CD

AF Oliet, C.

Oliva, A.

Castro, J.

Perez-Segarra, C. D.

TI Parametric studies on automotive radiators

SO APPLIED THERMAL ENGINEERING

AB This paper presents a set of parametric studies performed on automotive

radiators by means of a detailed rating and design heat exchanger model

developed by the authors. This numerical tool has been previously

verified and validated using a wide experimental data bank. A first

part of the analysis focuses on the influence of working conditions on

both fluids (mass flows, inlet temperatures) and the impact of the

selected coolant fluid. Following these studies, the influence of some

geometrical parameters is analysed (fin pitch, louver angle) as well as

the importance of coolant flow lay-out on the radiator global

performance. This work provides an overall behaviour report of

automobile radiators working at usual range of operating conditions,

while significant knowledge-based design conclusions have also been

reported. The results show the utility of this numerical model as a

rating and design tool for heat exchangers manufacturers, being a

reasonable compromise between classic epsilon - NTU methods and CFD.

(C) 2006 Elsevier Ltd. All rights reserved,

CR *ASHRAE, 1997, ASHRAE HDB FUND

ACHAICHIA A, 1988, EXPT THERMAL FLUID S, V1, P147

CHARYULU DG, 1999, APPL THERM ENG, V19, P625

CHEN JA, 2001, J AUTOMOBILE ENG, V205, P911

CHURCHILL SW, 1977, CHEM ENG, V84, P91

ECKERT ERG, 1972, ANAL HEAT MASS TRANS

ESCANES F, 1995, INT J NUMER METHOD H, V5, P781

FESSLER TE, 1979, 1466 NAT AER SPAC AD

FURUKAWA M, 1991, J THERMOPHYSICS, V5, P524

GARIMELLA S, 2001, HEAT TRANSFER ENG, V22, P12

GNIELINSKI V, 1976, INT CHEM ENG, V16, P359

GOLLIN M, 1996, SAE TECHNICAL PAPER, P115

HARVEY M, 2002, MATER WORLD, V10, P2

HILSENRATH J, 1960, TABLES THERMODYNAMIC

JUGER JJ, 1999, SAE TECHNICAL PAPER, P23

LIN C, 2000, SAE TECHNICAL PAPER, P1

OLIET C, IN PRESS HEAT TRANSF

OLIET C, 2000, P 3 EUR C COMP METH, P1

OLIET C, 2002, P 2002 INT REGR ENG, P1

PEREZSEGARRA CD, IN PRESS HEAT TRANSF

RICHARDS DR, 1984, 3769 NAT AER SPAC AD

SN 1359-4311

PD AUG

PY 2007

VL 27

IS 11-12

BP 2033

EP 2043

UT ISI:000247051700032

ER

PT J

AU Underwood, CP

Spitler, JD

AF Underwood, C. P.

Spitler, J. D.

TI Analysis of vertical ground loop heat exchangers applied to buildings

in the UK

SO BUILDING SERVICES ENGINEERING RESEARCH & TECHNOLOGY

AB The work presented here deals with the design and performance of

ground-source heat pumps and ground-sink cooling systems using vertical

borehole arrays for commercial applications in the UK. Heating and

cooling energy demands for a range of building and HVAC plant options

are obtained by thermal modelling applied to four HVAC plant options:

space heating only; heating with chilled ceilings; fan coil units and

constant volume all-air plant. Ground loop designs are conducted for

each system option using an impulse-response method and the parameters

extracted from this are used in 10-year simulations of plant response

which have been carried out using HVACSIM+. The 10-year time horizon

was used to assess any degradation in earth temperature over time. The

results show that a substantial reduction in energy (and, hence,

carbon) can be expected of up to and exceeding 50% when using ground

source heat pumps for winter heating with direct cooling in summer in

association with moderate temperature cooling systems such as chilled

ceilings. A degradation of earth temperature was evident with systems

utilising limited cooling or no cooling but this did not appear to

influence heat pump performance greatly.

Practical Applications: Design and performance data for use in vertical

ground loop (borehole) heat exchanger arrays providing source heat for

heat pumps as well as direct cooling for buildings are generated and

reported in this paper. The data should be of help to design

practitioners for the sizing of borehole arrays for both heating and

cooling. Design and performance matching to a wide variety of HVAC

combinations, building energy demand levels and two contrasting sets of

earth thermal property data are included so that practitioners will be

able to select results that suit a range of modern applications. Also

included are results of 10-year energy simulations that demonstrate the

required design and operating conditions needed to ensure that initial

undisturbed earth conditions will not drift with time to an

unacceptable extent. Comparisons are made with conventional heating and

cooling methods so that estimates of carbon savings due to the use of

ground-coupled heat pumps with (and without) direct cooling can be made.

CR *OFF DEP PRIM MIN, 2006, BUILD REG 2006 ED DO

*US DOE, 2006, EN EN SIM SOFTW

BETTLE R, 2007, IN PRESS ENERGY POLI

CHIASSON A, 2000, ASHRAE T, V106, P380

ESKILSON P, 1987, THESIS LUND U LUND

GENTRY GE, 2006, P 7 INT C SYST SIM B

KHAN MH, 2003, P BUILD SIM 2003 EIN

LI XG, 2006, ENERG BUILDINGS, V38, P543

LUND JW, 2005, GEOTHERMICS, V34, P691

PAHUD D, 2001, ENERG BUILDINGS, V33, P503

PARK C, 1996, HV ACSIM BUILDING SY

RAWLINGS RHD, 1999, TECHNICAL NOTE TN 18

SANNER B, 2003, GEOTHERMICS, V32, P579

SANNER B, 2003, GEOTHERMICS, V32, P589

SANNER B, 2005, P WORLD GEOTH C ANT

SPITLER JD, 2000, P 4 INT HEAT PUMPS C

TRILLATBERDAL V, 2006, IN PRESS ENERGY BUIL

XU X, 2006, P 10 INT C THERM EN

YAVUZTURK C, 1999, ASHRAE T, V105, P475

SN 0143-6244

PY 2007

VL 28

IS 2

BP 133

EP 159

UT ISI:000246490100003

ER

PT J

AU Farrell, KJ

Haidari, AH

AF Farrell, K. J.

Haidari, A. H.

TI Improve heat exchanger design

SO HYDROCARBON PROCESSING

SN 0018-8190

PD MAY

PY 2007

VL 86

IS 5

BP 87

EP 89

UT ISI:000246309800029

ER

PT J

AU Stehlik, P

AF Stehlik, Petr

TI Heat transfer as an important subject in waste-to-energy systems

SO APPLIED THERMAL ENGINEERING

AB Characteristics of heat transfer equipment and/or heat exchangers used

in waste to energy systems and their specific features are described

and discussed in the paper. A combination of intuitive design, know how

and sophisticated approach based on up-to-date computational tools is

shown. Concrete examples involve e.g. heat exchangers of heat recovery

systems (especially air pre-heaters and heat recovery steam generators)

of units for the thermal processing of wastes, their design,

arrangement, optimization etc. An application of CFD (computational

fluid dynamics) both for improved design and troubleshooting (e.g.

elimination of fouling) is demonstrated. There is also shown an

approach 'from idea to industrial applications' on an example of a new

unit for the thermal processing of gas waste. Design of this original

compact equipment consists in a convenient integration of combustion

chamber and heat exchanger. Experimental as well as CFD approaches

largely contributed to an optimum design and operation. (c) 2006

Elsevier Ltd. All rights reserved.

CR BEBAR L, 2002, APPL THERM ENG, V22, P897

FABIKOVIC V, 2001, 2 INT S ADV COMP HEA, V1, P309

GANAPATHY V, 1991, WASTE HEAT BOILER DE

HAJEK J, IN PRESS HEAT TRANSF

HEWITT CH, 1994, PROCESS HEAT TRANSFE

HEWITT CH, 1998, P INT C HEAT EXCH SU, P801

JEGLA Z, 2004, HEAT TRANSFER ENG, V25, P6

KLEMES J, 1997, APPL THERM ENG, V17, P993

ORAL J, 2005, ENERGY, V30, P1343

REPPICH M, 1994, COMPUT CHEM ENG, V18, P295

SHAH RK, 1991, HEAT EXCHANGE ENV, V2

SMITH R, 1995, CHEM PROCESS DESIGN

SPONAR M, 2004, 7 C P CDROM PRES 200

STEHLIK P, 2000, WASTE MANAGE, V20, P435

STEHLIK P, 2002, HEAT TRANSFER ENG, V23, P36

STULIR R, 2001, APPL THERM ENG, V21, P1383

STULIR R, 2003, HEAT TRANSFER ENG, V24, P60

TAAL M, 2003, APPL THERM ENG, V23, P1819

SN 1359-4311

PD JUL

PY 2007

VL 27

IS 10

BP 1658

EP 1670

UT ISI:000246172100002

ER

PT J

AU Bennett, CA

Kistler, RS

Lestina, TG

King, DC

AF Bennett, Christopher A.

Kistler, R. Stanley

Lestina, Thomas G.

King, David C.

TI Improving heat exchanger designs

SO CHEMICAL ENGINEERING PROGRESS

AB This article defines and explains the factors that affect heat

exchanger design margins. With the proper application of design

margins, capital costs can be lowered and plant operation improved.

CR *AM SOC MECH ENG, 2001, 125 ASME

*TUB EXCH MAN ASS, 1999, STAND TUB EXCH MAN A

LESTINA T, 2001, ADV HEAT TRANSFER, V35, P1

NESTA J, 2004, HYDROCARB PROCESS, V83, P77

PALEN JW, 1969, CHEM ENG PROG S SER, V65, P53

REID RC, 1987, PROPERTIES GASES LIQ

SN 0360-7275

PD APR

PY 2007

VL 103

IS 4

BP 40

EP 45

UT ISI:000245820200026

ER

PT J

AU Schulte-Fischedick, J

Dreissigacker, V

Tamme, R

AF Schulte-Fischedick, Jan

Dreissigacker, Volker

Tamme, Rainer

TI An innovative ceramic high temperature plate-fin heat exchanger for

EFCC processes

SO APPLIED THERMAL ENGINEERING

AB For heat exchanger applications needing extreme operation temperatures

such as in the field of power generation or heat recovery a ceramic

plate-fin heat exchanger is proposed, based on the "Offset Strip Fin"

design. At first the principal selection of the materials and the

environmental barrier coating (EBC) needed to protect the substrate

from the aggressive flue gases is explained. Then a manufacturing

process is described able to incorporate the EBC on all parts having

contact to the flue gases. On the basis of a representative biomass

fuelled externally fired combined cycle (EFCC) process with an

electrical output of 6 MW the thermal design is presented resulting in

a counter flow ceramic heat exchanger block of weight 4.0 t and surface

area densities of 443 mm(2)/mm(3) on the flue gas side and 286

mm(2)/mm(3) on the pressurized process gas side. To ensure the

thermomechanical integrity investigations of both the steady state

operation and the case of an emergency stop were investigated by means

of finite element method (FEM). In the case of steady state operation a

security factor of 8.5 was achieved. This demonstrates that the

occurring stresses in both cases are controllable. (c) 2006 Elsevier

Ltd. All rights reserved.

CR *ANS RIC SRL, UNPUB EXT FIR COMB C

*ESK, ING WERKST PROD INF

*INF TECHN KER, 1997, WERKST TECHN KER PRO

*SPEC MET COOP, PROD INF BROCH

FOLKE C, 1999, P 5 INT C TECHN COMB, P779

HESSELGREAVES JE, 2001, COMPACT HEAT EXCHANG

JACOBSON NS, 1985, J AM CERAM SOC, V68, P432

JOSHI HM, 1987, INT J HEAT MASS TRAN, V30, P69

LEE SY, 2003, J AM CERAM SOC, V86, P1292

MAIER HR, 2000, P 7 INT S CER MAT CO, P255

MANGLIK RM, 1995, EXP THERM FLUID SCI, V10, P171

MESCHKE F, 2005, CHEM ENG TECHNOLOGY, V28

MESCHKE F, 2005, COMMUNICATION

OPILA EJ, 1997, J AM CERAM SOC, V80, P1009

PAWLOWSKI L, 1995, SCI ENG THERMAL SPRA

PERHAM TJ, 1999, J AM CERAM SOC, V82, P297

ROBINSON RC, 1999, J AM CERAM SOC, V82, P1817

SCHMIDT J, 2004, P 5 INT C HIGH TEMP, P531

SCHULTEFISCHEDICK J, 2004, MAT SCI ENG A-STRUCT, V386, P428

SHAH RK, 2003, FUNDAMENTALS HEAT EX

SUNDEN B, 2005, P 5 INT C ENH COMP U

TAKEMATSU T, 1991, COAL GASIFICATION IG

TAMME R, 2000, P INT C ADV MAT PROC, V7, P315

ULLMANN T, 2001, P 4 INT C HIGH TEMP, P230

WARD P, 1985, ADV CERAM, V14, P31

SN 1359-4311

PD JUN

PY 2007

VL 27

IS 8-9

BP 1285

EP 1294

UT ISI:000245725200007

ER

PT J

AU Haije, WG

Veldhuis, JBJ

Smeding, SF

Grisel, RJH

AF Haije, Wim G.

Veldhuis, Jakobert B. J.

Smeding, Simon F.

Grisel, Ruud J. H.

TI Solid/vapour sorption heat transformer: Design and performance

SO APPLIED THERMAL ENGINEERING

AB A high temperature high lift solid sorption based heat transformer has

been successfully designed and tested. The sorption reactor concept is

based on a tube-fin heat exchanger where the heat exchanging fluids can

flow through the hollow fins. The plates were brazed together with

porous metal foam that was impregnated with either of the sorbents,

LiCl and MgCl2. The adsorbate is ammonia. The batch system was tested

as to the power delivered at high temperatures, 150-200 degrees C. Peak

power at 200 degrees C was about 0.8 M, the average power about 0.4 kW.

The thermal efficiency, COP, was calculated from the experimental

results to be 0.11. This is only 40% of the expected theoretical value

and can largely be attributed to the thermal mass of the reactor. (c)

2006 Published by Elsevier Ltd.

CR AIDOUN Z, 2001, APPL THERM ENG, V21, P1019

AIDOUN Z, 2002, APPL THERM ENG, V22, P1943

CRITOPH RE, 2002, P INT SORPT HEAT PUM, P571

DEBOER R, 2003, THERMOCHIM ACTA, V395, P3

ENRIGHT GD, 2003, J AM CHEM SOC, V125, P9896

FLETCHER AJ, 2004, J AM CHEM SOC, V126, P9750

HAIJE WG, 2002, P INT SORPT HEAT PUM, P469

HAN JH, 1999, J THERMOPHYS HEAT TR, V13, P481

MARTY A, 1991, J THERM ANAL, V37, P479

MAURAN S, 1993, HEAT RECOV SYST CHP, V13, P315

MAURAN S, 2003, 19920777537, US

SMEDING SF, 2006, P 13 INT HEAT TRANSF

SPOELSTRA S, 2002, APPL THERM ENG, V22, P1619

SPOELSTRA S, 2004, KOUDE LUCHTBEHANDELI, P28

STITOU D, 2000, APPL THERM ENG, V20, P1237

STITOU D, 2004, ENERGY, V29, P267

WANG SG, 2005, RENEW ENERG, V30, P1425

SN 1359-4311

PD JUN

PY 2007

VL 27

IS 8-9

BP 1371

EP 1376

UT ISI:000245725200017

ER

PT J

AU Hamada, Y

Saitoh, H

Nakamura, M

Kubota, H

Ochifuji, K

AF Hamada, Yasuhiro

Saitoh, Hisashi

Nakamura, Makoto

Kubota, Hideki

Ochifuji, Kiyoshi

TI Field performance of an energy pile system for space heating

SO ENERGY AND BUILDINGS

AB This paper describes the field performance of air conditioning with an

energy pile system, which was applied to the pile foundations of an

actual building for the purpose of reducing the cost of the underground

heat exchanger. First, the building for both office and residential

use, for which a space heating and cooling system using friction piles

was installed, was built in Sapporo in December 2000. Second, three

tests were carried out to specify the design of a heat exchanger inside

the pile, and a U-tube type underground heat exchanger was adopted from

the viewpoint of energy efficiency and installation costs. Long-term

space heating operation measurements indicated that the seasonal

average temperatures of brine returning from the underground and pile

surfaces were 2.4 and 6.7 degrees C, respectively. The average

coefficient of performance for space heating was quite high at 3.9, and

the seasonal primary energy reduction rate compared with a typical air

conditioning system reached 23.2%. (c) 2006 Elsevier B.V. All rights

reserved.

CR *ENG ADV ASS JAP, 1998, REP STUD BOR THERM E

*I BUILD ENV EN CO, 2000, THERM LOAD CALC PROG

*JAP GEOT SOC, 1993, REV ED COMM SURV DES

*NEW EN FDN, 1998, REP STUD EN SYST US

*NEW EN IND TECHN, 2001, R D RES ADV TECHN UN

*SOC HEAT, 1995, HDB HEAT AIR COND SA

*SOC HEAT, 1998, AIR COND SAN ENG JAP

BAKEMA G, 1994, IEA ECES STATE ART 1

CARLSON S, 1998, P 2 STOCKT INT GEOTH

DOHERTY PS, 2004, APPL THERM ENG, V24, P2627

ELTRON S, 2000, WARMEPUMPEN SYSTEM P, P33

ESEN H, 2006, ENERG CONVERS MANAGE, V47, P1281

HAMADA Y, 2001, ENERG BUILDINGS, V33, P805

HAMADA Y, 2001, T SOC HEATING AIR CO, V80, P77

HAMADA Y, 2002, APPL ENERG, V72, P659

HAMADA Y, 2003, RENEW ENERG, V28, P321

KAGA H, 2001, P ANN M SOC HEAT AIR, P345

KUBOTA H, 2000, J ARCHITECTURE PLANN, V530, P19

LALOUI L, 2003, CAN GEOTECH J, V40, P388

LALOUI L, 2006, INT J NUMER ANAL MET, V30, P763

MINEA V, 2006, ASHRAE J, V48, P28

MORINO K, 1994, ENERG BUILDINGS, V21, P65

PAHUD D, 1999, IEA HEAT PUMP CTR NE, V17, P15

PREG R, 1997, IEA HEAT PUMP CTR NE, V15, P28

RYBACH L, 2003, GEOTHERMICS, V32, P463

SAITOH H, 2003, APPL THERM ENG, V23, P2089

SANNER B, 1997, P 7 INT C THERM EN S, P677

SANNER B, 2003, GEOTHERMICS, V32, P589

SPITLER JD, 2005, HVAC&R RES, V11, P165

YAMADA Y, 2005, RENEW SUST ENERG REV, V9, P345

SN 0378-7788

PD MAY

PY 2007

VL 39

IS 5

BP 517

EP 524

UT ISI:000245598100002

ER

PT J

AU Jain, D

AF Jain, Dilip

TI Development and testing of two-stage evaporative cooler

SO BUILDING AND ENVIRONMENT

AB Evaporative cooling has been proved as an effective method of storage

of fruits and vegetables of moderate respiration rates. Therefore, a

modified evaporative cooler named two-stage evaporative cooler (TSEC)

has been developed to improve the efficiency of evaporative cooling for

high humidity and low temperature air conditioning. Two-stage

evaporative cooler consists of the heat exchanger and two evaporative

cooling chambers. The performance of cooler has been evaluated in terms

of temperature drop, efficiency of the evaporative cooling and

effectiveness of TSEC over single evaporation. The temperature drop

through TSEC ranged from 8 to 16 degrees C. With the several

observations for diurnal runs, it was observed that TSEC could drop the

temperature up to wet bulb depression of ambient air and provided the

90% relative humidity. Efficiency of single evaporation was 85-90%.

Effectiveness of the two-stage evaporative cooling was found to be

1.1-1.2 over single evaporation. The two-stage evaporative cooler

provided the room conditions as 17-25 degrees C temperature and 50-75%

relative humidity, which can enable to enhance the shelf-life of wide

range of fruit and vegetables of moderate respiration rates. (c) 2006

Elsevier Ltd. All rights reserved.

CR ANYANWU EE, 2004, ENERG CONVERS MANAGE, V45, P2187

BALLANEY PL, 1972, REFRIGERATION AIR CO

BINDIR UB, 1994, 12 WORLD C AGR ENG, P1039

HANDENBURG RE, 1990, AGR HDB, V66, P130

HELSEN A, 1991, CURRENT PRACTICE EUR, P169

HISHAM ED, 2004, CHEM ENG J, V102, P255

JAIN D, 1989, MODELLING SIMULATI B, V24, P1

JAIN DL, 2002, ENERG CONVERS MANAGE, V43, P2235

MEKONNEN A, 1994, AGR ENG, V49, P44

ROY SK, 1994, LOW COST COOL CHAMBE, P393

THOMPSON AK, 1996, POST HARVEST TECHNOL, P136

TINDELL HD, 1983, VEGETABLES TROPICS

UMBARKER SP, 1991, INDIAN J AGR ENG, V1, P26

SN 0360-1323

PD JUL

PY 2007

VL 42

IS 7

BP 2549

EP 2554

UT ISI:000245295900010

ER

PT J

AU Hwang, KM

Jin, TE

Kim, KH

AF Hwang, Kyeong Mo

Jin, Tae Eun

Kim, Kyung Hoon

TI A study on development of a plugging margin evaluation method taking

into account the fouling of shell-and-tube heat exchangers

SO JOURNAL OF MECHANICAL SCIENCE AND TECHNOLOGY

AB As the operating time of heat exchangers progresses, fouling caused by

water-borne deposits and the number of plugged tubes increase and

thermal performance decreases. Both fouling and tube plugging are known

to interfere with normal flow characteristics and to reduce thermal

efficiencies of heat exchangers. The heat exchangers of Korean nuclear

power plants have been analyzed in terms of heat transfer rate and

overall heat transfer coefficient as a means of heat exchanger

management. Except for fouling resulting from the operation of heat

exchangers, all the tubes of heat exchangers have been replaced when

the number of plugged tubes exceeded the plugging criteria based on

design performance sheet. This paper describes a plugging margin

evaluation method taking into account the fouling of shell-and-tube

heat exchangers. The method can evaluate thermal performance, estimate

future fouling variation, and consider current fouling level in the

calculation of plugging margin. To identify the effectiveness of the

developed method, fouling and plugging margin evaluations were

performed at a component cooling heat exchanger in a Korean nuclear

power plant.

CR *ASME, 1994, STAND GUID OP MAINT, P5

*KOPEC, 2003, PLUGG MARG EV COMP C

CONKLIN JE, 1995, WCAP14341

NORRIS SH, 1991, EXCHAGER PERFORMANCE, C22

PERRY RH, 1984, CHEM ENG HDB, P10

RICHARD CB, 1988, STANDARDS TUBULAR EX, P101

SN 1738-494X

PD NOV

PY 2006

VL 20

IS 11

BP 1934

EP 1941

UT ISI:000244939700015

ER

PT J

AU Hewitt, GF

Pugh, SJ

AF Hewitt, Geoff F.

Pugh, Simon J.

TI Approximate design and costing methods for heat exchangers

SO HEAT TRANSFER ENGINEERING

AB Methodologies for the rapid sizing and costing of heat exchangers have

been developed under the aegis of ESDU International plc, London. This

paper is a summary of a group of design guides ( referred to as "data

items") that cover a wide range of heat exchanger configurations. These

data items are aimed at providing rapid selection, sizing, and costing

at the process design stage. For two-stream exchangers, the C value

method has been adopted in which the costs are expressed per unit (Q/

Delta T-m), where. Q is the heat load and Delta T-m the mean

temperature difference. The development and applications of this method

are reviewed, with an emphasis on comparisons between various types of

exchanger. The nature of variations from the standard cases considered

are also discussed. Though the C value method can be applied to

two-stream plate-fin exchangers, such exchangers often operate with

multiple streams. Approximate calculations for the design of such

multistream exchangers can be made using the concept of the volumetric

heat transfer coefficient. This methodology can be combined with

standard curves of the cost per unit volume as a function of volume to

obtain an approximate costing of such exchangers.

CR *ALPEMA, 2000, STAND BRAZ AL PLAT F

*ESDU INT PLC, 1994, 94043 ESDU INT PLC

*ESDU INT PLC, 1995, 95007 ESDU INT PLC

*ESDU INT PLC, 1997, 97006 ESDU INT PLC

*ESDU INT PLC, 1998, 9800398007 ESDU INT

*ESDU INT PLC, 2005, UNPUB SELECTION COST

*ESDU, 1992, 92013 ESDU INT PLC

*ESDU, 1994, 94042 ESDU INT PLC

*TEMA, 1988, STAND TUB EXCH MAN A

*TEMA, 1999, STAND TUB EXCH MAN A

ASANTE NDK, 1997, T ICHEME A, V75, P349

HEWITT GF, 1982, USER GUIDE PROCESS I

HEWITT GF, 1994, PROCESS HEAT TRANSFE

LINNHOFF B, 1994, HEAT EXCHANGER DESIG

TABOREK J, 1994, HEAT EXCHANGER DESIG

TAYLOR MA, 1987, PLATE FIN HEAT EXCHA

ZHU XX, 1995, CHEM ENG RES DES, V73, P919

SN 0145-7632

PD FEB

PY 2007

VL 28

IS 2

BP 76

EP 86

UT ISI:000244176600002

ER

PT J

AU Kang, SW

Tseng, SC

AF Kang, Shung-Wen

Tseng, Shin-Chau

TI Analysis of effectiveness and pressure drop in micro cross-flow heat

exchanger

SO APPLIED THERMAL ENGINEERING

AB A theoretical model that predicts the thermal and fluidic

characteristics of a micro cross-flow heat exchanger is developed in

this study. The theoretical model is validated by comparing the

theoretical solutions with the experimental data from the relative

literature. This model describes the interactive effect between the

effectiveness and pressure drop in the micro heat exchanger. The

analytical results show that the average temperature of the hot and

cold side flow significantly affects the heat transfer rate and the

pressure drop at the same effectiveness. Different effectiveness has a

great influence upon the heat transfer rate and pressure drop. When the

micro heat exchanger material is changed from silicon to copper, the

thermal conductivity changes from 148 to 400 W/m K. The heat exchanger

efficiency is also similar. Therefore, the (110) orientation silicon

based micro heat exchanger made using the MEMS fabrication process is

feasible and efficient. Furthermore, the dimensions effect has a great

influence upon the relationship between the heat transfer rate and

pressure drop. Therefore, the methodology presented in this paper can

be used to design a micro cross-flow heat exchanger. (c) 2006 Elsevier

Ltd. All rights reserved.

CR FRIEDRICH CR, 1994, PRECIS ENG, V16, P56

KANG SW, 2002, TAMKANG J SCI ENG, V5, P129

KAYS WM, 1964, COMPACT HEAT EXCHANG

RAZNJEVIC K, 1976, HDB THERMODYNAMIC TA

SHAH RK, 1978, LAMINAR FLOW FORCED

TUCKERMAN DB, 1984, THESIS STANFORD U US

SN 1359-4311

PD APR

PY 2007

VL 27

IS 5-6

BP 877

EP 885

UT ISI:000244196100008

ER

PT J

AU Serna-Gonzalez, M

Ponce-Ortega, JM

Castro-Montoya, AJ

Jimenez-Gutierrez, A

AF Serna-Gonzalez, Medardo

Ponce-Ortega, Jose M.

Castro-Montoya, Agustin J.

Jimenez-Gutierrez, Arturo

TI Feasible design space for shell-and-tube heat exchangers using the

Bell-Delaware method

SO INDUSTRIAL & ENGINEERING CHEMISTRY RESEARCH

AB This paper presents an improved methodology for generating feasible

regions for shell-and-tube exchanger design, taking into account

geometric and operational constraints. The approach is based on the

Bell-Delaware method to describe the shell-side flow with no

simplification; this approach, therefore, can incorporate the entire

range of geometric parameters of practical interest. Compact analytical

equations are derived from the rigorous Bell-Delaware method for the

shell-side heat transfer coefficient and pressure drop. These equations

aid significantly in the solution of the design problem. The solution

involves a nested approach where the compact equation parameters are

treated as iteration variables; a simplified heat exchanger model is

solved in an inner loop, and the exchanger parameters are updated in an

outer loop. Compared to a previous work, which uses the approximate

Kern method to describe the shell-side flow, the present one provides a

better accuracy for the thermal design of shell-and-tube heat

exchangers with single-phase fluids. One example is presented to show

the application of the proposed method. The alternative use of

proprietary design software is also illustrated.

CR BELL KJ, 1963, B U DELAWARE, V5

BELL KJ, 1981, HEAT EXCHANGERS THER

ERYENER D, 2006, ENERG CONVERS MANAGE, V47, P1478

KAKAC S, 2002, HEAT EXCHANGERS SELE

KERN DQ, 1950, PROCESS HEAT TRANSFE

MCADAMS WH, 1954, HEAT TRANSMISSION

MIZUTANI FT, 2003, IND ENG CHEM RES, V42, P4019

MURALIKRISHNA K, 2000, CHEM ENG RES DES, V78, P161

PALEN JW, 1969, CHEM ENG PROG S SER, V65, P53

PODDAR TK, 1996, CHEM ENG RES DES, V74, P849

PODDAR TK, 2000, CHEM ENG PROG    SEP, P41

RAVAGNANI MASS, 2003, APPL THERM ENG, V23, P141

ROQUE MC, 2000, COMPUT CHEM ENG, V24, P1349

SERNA M, 2004, HEAT TRANSFER ENG, V25, P5

SERNA M, 2005, CHEM ENG RES DES, V83, P539

SERNAGONZALEZ M, 2004, P 17 INT C EFF COSTS, P865

SIEDER EN, 1936, IND ENG CHEM, V28, P1429

SINNOTT RK, 1989, CHEM ENG SERIES, V6

TABOREK J, 1983, HEAT EXCHANGER DESIG, V3

TINKER T, 1951, GEN DISCUSSION 1 2 3

TINKER T, 1958, T ASME, V80, P36

SN 0888-5885

PD JAN 3

PY 2007

VL 46

IS 1

BP 143

EP 155

UT ISI:000243339600019

ER

PT J

AU Faure, TM

Lusseyran, F

Gougat, P

Launay, F

AF Faure, Thierry M.

Lusseyran, Francois

Gougat, Pierre

Launay, Francois

TI Experimental investigation of the flow distribution inside a tubular

heat exchanger

SO JOURNAL OF FLUIDS ENGINEERING-TRANSACTIONS OF THE ASME

AB The velocity field inside a new concept of heat exchanger which is a

component of a high protons linear accelerator is investigated

experimentally in order to validate the design. A full scale facility

with optical accesses is used for the measurements by particle image

velocimetry. The choice of the technique is set by the

three-dimensional and strongly unsteady structure of the flow. A

filtering procedure is applied to the recorded images before processing

the velocity field with an optical flow algorithm using dynamical

programming. The distribution of the velocity between the

different,tubes of the heat exchanger shows a large scatter of flow

rate between these tubes. In addition, the turbulence characteristics

are presented.

CR ALHARBI AY, 2003, J FLUID ENG-T ASME, V125, P1051

COMER JK, 2001, J FLUID MECH, V435, P25

CORIERI P, 1994, THESIS U LIBRE BRUXE

ETHIER CR, 2000, J FLUID MECH, V411, P1

FAURE TM, 2004, 9 C FRANC VEL LAS BR

HASELTON FR, 1982, J FLUID MECH, V123, P315

IDELCIK IE, 1986, MEMENTO PERTES CHARG

KU DN, 1997, ANNU REV FLUID MECH, V29, P399

KUBILAY E, 1982, THESIS U P M CURIE P

MANGA M, 1996, J FLUID MECH, V315, P105

NIKOLAIDIS NM, 2002, J FLUID ENG-T ASME, V124, P505

PEDLEY TJ, 1971, J FLUID MECH, V46, P365

PEDLEY TJ, 1977, ANNU REV FLUID MECH, V9, P229

QUENOT GM, 1992, P IEEE ICASSP, V3, P249

QUENOT GM, 1998, EXP FLUIDS, V25, P177

RAMUZAT A, 2002, 8 C FRANC VEL LAS OR, P125

RAMUZAT A, 2002, THESIS U PARIS 12 VA

REMY D, 2005, ACT C FLUVISU 11 JUN

RIEU R, 1989, EUR J MECH B-FLUID, V8, P73

THEUNISSEN R, 2004, 9 C FRANC VEL LAS BR

ZHANG Z, 2002, INT J MULTIPHAS FLOW, V28, P1021

SN 0098-2202

PD NOV

PY 2006

VL 128

IS 6

BP 1218

EP 1227

UT ISI:000241820900009

ER

PT J

AU Aquaro, D

Pieve, M

AF Aquaro, D.

Pieve, M.

TI High temperature heat exchangers for power plants: Performance of

advanced metallic recuperators

SO APPLIED THERMAL ENGINEERING

AB An overview is given of recent high temperature heat exchangers

technology developments, both in the thermal-fluid dynamic innovative

solutions and in the materials. Gas turbine recuperative cycles,

microturbine systems, indirectly fired cycles and high temperature gas

cooled nuclear reactors are the investigated fields where this kind of

heat exchangers is used. Some common technological features join all of

them, namely: new surface geometry design and burdensome material

requirements. The most important difficulties arising from the specific

conditions of each heat exchange system are pointed out, together with

their possible solutions. A comparison among them is presented and some

suggestions are proposed about expanding the boundaries of the

individual research fields, to get a wider understanding of common

critical issues. Finally, the paper focuses on the main current

challenges to be faced in the near future in order to get a competitive

development of such systems. (c) 2006 Elsevier Ltd. All rights reserved.

CR *ETSU, 1994, 89 ETSU

*GE, 2005, GEA12985E

*IAEA, 2001, IAEATECDOC1236

ANHEDEN M, 2000, THESIS ROYAL I TECHN

BALLINGER G, 2003, BALANCE PLANT SYSTEM

BILLOT P, 2004, 2 INT TOP M HIGH TEM

BREY HL, 2000, IAEA TECHN COMM M GA, P25

BURGSMULLER P, 1988, P 1988 JOINT ASME AN

COOK RH, 1988, INT WORK GROUP GAS C, P124

CZIMCZIK A, 1984, SPEC M HEAT EXCH COM, P94

EXNER R, 1984, INT WORK GROUP GAS C, P139

FERREIRA T, 2004, IAEA B, V46, P48

FRANCO A, 2002, P ECOS 2002 BERL, V2, P801

GRADY CJ, 2004, P ICAPP 04 PITTSB, P397

HADA K, 1991, NUCL ENG DES, V132, P1

HESSELGREAVES JE, 2001, COMPACT HEAT EXCHANG

KADAK AC, 2000, MITANPPR075

KADAK AC, 2004, 2 INT TOP M HIGH TEM

KOROBITSYN MA, 1998, THESIS U TWENTE

MAO C, 2002, 7 LIEG C MAT ADV POW

MATZNER D, 2004, 2 INT TOP M HIGH TEM

MAZIASZ PJ, 1999, MATER HIGH TEMP, V16, P207

MAZIASZ PJ, 2003, 2003GT38762 ASME

MAZIASZ PJ, 2003, 6 INT C PARS TURB C

MAZIASZ PJ, 2003, DOE CETC CANDRA WORK

MAZIASZ PJ, 2005, 2005GT68927 ASME

MCDONALD CF, 1996, APPL THERM ENG, V16, P3

MCDONALD CF, 2000, APPL THERM ENG, V20, P471

MCDONALD CF, 2003, APPL THERM ENG, V23, P1463

MCDONALD CF, 2005, 2005GT68644 ASME

MCQUIGGAN G, 1997, P ADV TURB SYST ANN

OAKEY JE, 2003, R224DTIPUBURN021509

OMATETE OO, 2000, ORNLTM2000304

PINT BA, 2001, 2001GT0445 ASME

QUADAKKERS WJ, 1989, OXID MET, V32, P67

SHAH RK, 2005, P 5 INT C ENH COMP U

STINTON DP, 2003, DER MAT Q PROGR REPO

TAKASE K, 2002, 202GT30403 ASME

TERAJI D, 2005, 16 S IND APPL GAS TU

WANG C, 2002, C HIGH TEMP REACT HT

WANG J, 2004, 2 INT TOP M HIGH TEM

WARD ME, 1995, TTS006395 SOL TURB I

WEBER GF, 2000, P 2000 INT JOINT POW

WILSON RA, 1994, 94GT395 ASME, P36

WRIGHT IG, 2003, 17 ANN FOSS EN MAT C

ZHANG ZY, 2002, NUCL ENG DES, V218, P249

SN 1359-4311

PD FEB

PY 2007

VL 27

IS 2-3

BP 389

EP 400

UT ISI:000241706500013

ER

PT J

AU Tiwari, GN

Akhtar, MA

Shukla, A

Khan, ME

AF Tiwari, G. N.

Akhtar, M. A.

Shukla, Ashish

Khan, M. Emran

TI Annual thermal performance of greenhouse with an earth-air heat

exchanger: An experimental validation

SO RENEWABLE ENERGY

AB In this paper the thermal model given by Ghoshal and Tiwari has been

validated by round-the-year experimental work at IIT Delhi, New Delhi

(28 degrees 35'N, 77 degrees 12'E), India. The correlation coefficient

and root-mean-square percentage deviation have been computed for each

month for validation of the thermal model. The values are 0.99% and

4.24% for the greenhouse temperature with an earth-air heat exchanger

(EAHE) in the month of January. Statistical analysis shows that there

is fair agreement between predicted and experimental values. An effort

has also been made to optimize the working hours of an EAHE to obtain

maximum heating/cooling potential. The non-operational hours of an EAHE

are 252 and 279 for February and March months, respectively. The

maximum value of heating potential (11.55MJ) and cooling potential

(18.87MJ) has been found during off sunshine (8 pm-8 am) hours and peak

sunshine hours (8 am-8 pm), for a typical day in the month of January

and June. (c) 2005 Elsevier Ltd. All rights reserved.

CR ABAK K, 1994, ACTA HORTIC, V369, P149

BARGACH MN, 2000, RENEW ENERG, V20, P415

COFFIN W, 1985, ISES C MONTR, P611

CONNELLAN G, 1986, P SOL EN SOC ATL GA

GHOSAL MK, 2005, ENERG BUILDINGS, V37, P613

JAIN D, 2003, ENERG CONVERS MANAGE, V44, P1357

SANTAMOURIS M, 1994, SOL ENERGY, V52, P371

SANTAMOURIS M, 1995, SOL ENERGY, V55, P111

SHUKLA A, 2005, IN PRESS BUILD ENV

SINGH RD, 2000, ENERG CONVERS MANAGE, V41, P505

SNATAMOURIS M, 1996, ENERGY, V52, P353

SODHA MS, 1985, BUILD ENVIRON, V20, P115

THANU NM, 2001, SOL ENERGY, V71, P353

TIWARI GN, 1986, ENERGY CONVERSION MA, V26, P71

TIWARI GN, 1998, ENERG BUILDINGS, V28, P241

TIWARI GN, 2003, GREENHOUSE TECHNOLOG

SN 0960-1481

PD DEC

PY 2006

VL 31

IS 15

BP 2432

EP 2446

UT ISI:000241213700004

ER

PT J

AU Franco, A

Giannini, N

AF Franco, Alessandro

Giannini, Nicola

TI A general method for the optimum design of heat recovery steam

generators

SO ENERGY

AB The optimization of the heat recovery steam generator (HRSG) is one of

the key elements for increasing the efficiency of combined plants.

According to the current technical practice, it can be organized at

different levels of complexity with objectives sequentially defined:

operating parameters, geometrical details and technological elements.

According to this point of view, in the paper a complete strategy for

the optimum design of the HRSG is outlined. The optimization is

organized at two levels: the first one enables to obtain the main

operating parameters of the HRSG, while the second involves the

detailed design of the component concerning the geometric variables of

the heat transfer sections. The output of the first-level optimization

is the input of the second level. In particular, the second level of

the optimization can be articulated in two different steps. The first

step can be aimed to the minimization of the pressure drop for a given

heat flow. The second step leads to a reduction of the overall

dimensions, maintaining the imposed performance of the HRSG in terms of

heat flow and pressure drop. The whole procedure is tested with

reference to a case of existing HRSG structures; it shows the

possibility of improving performance maintaining a constrained packaged

size. (c) 2006 Elsevier Ltd. All rights reserved.

CR BEJAN A, 1996, THERMAL DESIGN OPTIM

BEJAN A, 1997, ADV ENG THERMODYNAMI

CASAROSA C, 1999, P 17 UIT NAT C FERR, V2, P595

CASAROSA C, 2004, ENERGY, V29, P389

COLLIER JG, 1994, CONVECTIVE BOILING C

DECHAMPS PJ, 1998, J ENG GAS TURB POWER, V120, P350

ELSAYED YM, 2002, ENERG CONVERS MANAGE, V43, P1165

FRANCO A, 2002, INT J THERM SCI, V41, P843

FRANCO A, 2005, APPL THERM ENG, V25, P1293

JERICHA H, 1994, 97GT98 ASME

KOTAS TJ, 1995, EXERGY METHOD THERMA

LINHOFF B, 1983, CHEM ENG SCI, V38, P745

MANNINEN J, 1998, COMP CHEM ENG S, V22, P537

RAO SS, 1996, ENG OPTIMIZATION THE

ROHSENOW WM, 1985, HDB HEAT TRANSFER AP

SHAH RK, 2003, FUNDAMENTALS HEAT EX

SMITH EM, 1997, THERMAL DESIGN HEAT

SOYLEMEZ MS, 2000, ENERG CONVERS MANAGE, V41, P1419

VALDES M, 2001, APPL THERM ENG, V21, P1149

SN 0360-5442

PD DEC

PY 2006

VL 31

IS 15

SI Sp. Iss. SI

BP 3342

EP 3361

UT ISI:000241246600022

ER

PT J

AU Schoenenborn, H

Ebert, E

Simon, B

Storm, P

AF Schoenenborn, Harald

Ebert, Ernst

Simon, Burkhard

Storm, Paul

TI Thermomechanical design of a heat exchanger for a recuperative

aeroengine

SO JOURNAL OF ENGINEERING FOR GAS TURBINES AND POWER-TRANSACTIONS OF THE

ASME

AB Within the framework programs of the EU for Efficient and

Environmentally Friendly Aero-Engines (EEFEA) MTU has developed a

highly efficient cross-counter flow heat exchanger for the application

in intercooled recuperated aeroengines. This very compact recuperator

is based on the profile tube matrix arrangement invented by MTU and one

of its outstanding features is the high resistance to thermal

gradients. In this paper the combined thermomechanical design of the

recuperator is presented. State-of-the-art calculation procedures for

heat transfer and stress analysis are combined in order to perform a

reliable life prediction of the recuperator. The thermal analysis is

based upon a 3D parametric finite element model generation. A program

has been generated, which allows the automatic generation of both the

material mesh and the boundary conditions. Assumptions concerning the

boundary conditions are presented as well as steady state and transient

temperature results. The stress analysis is performed with a FEM code

using essentially the same computational grid as the thermal analysis.

With the static temperature fields the static loading of the profile

tubes is determined. From transient thermal calculations successive 3D

temperature fields are obtained which enable the determination of creep

life and LCF life of the part. Finally, vibration analysis is performed

in order to estimate the vibration stress of the profile tubes during

engine operation. Together with the static stress a Goodman diagram can

be constructed. The combined analysis shows the high life potential of

the recuperator which is important for economic operation of a

recuperative aero-engine.

CR BROCKETT W, 1992, 92GT391 ASME

BROICHHAUSEN K, 2000, ICAS 2000

DUFFY RJ, 1987, 871911 AIAA

EGGEBRECHT R, 1986, MTZ MOTORTECHNISCHE, V47, P235

GOULAS A, 2003, INT J HEAT TECHNOLOG, V21

KOSCHIER AV, 1999, 99GT416 ASME

PELLISCHEK G, 1991, 917019 ISABE

PELLISCHEK G, 1992, 920151 SAE

SCHEUGENPFLUG H, 2001, DGLR JB, V3, P1647

WILFERT G, 2001, P 8 CEAS EUR PROP FO

SN 0742-4795

PD OCT

PY 2006

VL 128

IS 4

BP 736

EP 744

UT ISI:000241045600002

ER

EF